Spiral diffusion imaging at 800 µm resolution using a scanner with 300 mT/m gradients and gradient field monitoring
Luke J. Edwards1, Kerrin J. Pine1, Shubhajit Paul1, Fakhereh Movahedian Attar1, Michael Herbst2, Mirsad Mahmutović3, Boris Keil3, Harald Möller4, Evgeniya Kirilina1,5, Nikolaus Weiskopf1,6
[1] Department of Neurophysics, Max Planck Institute for Human Cognitive and Brain Sciences, Leipzig, Germany
[2] Gengenbach, Germany
[3] Institute of Medical Physics and Radiation Protection, TH Mittelhessen University of Applied Sciences, Giessen, Germany
[4] NMR Group, Max Planck Institute for Human Cognitive and Brain Sciences, Leipzig, Germany
[5] Center for Cognitive Neuroscience Berlin, Freie Universität Berlin, Germany
[6] Felix Bloch Institute for Solid State Physics, Faculty of Physics and Earth Sciences,
Leipzig University, Germany
[Speaker Notes: Hello everyone. I'm Luke Edwards and today I will talk about using spiral readout to image fine iron rich structures of the brain.]

---
Imaging narrow anatomical structures using short TE
Imaging narrow anatomical structures with short TE DWI
- Fine iron-rich structures (e.g. U-fibres) benefit from short TE and sub-mm resolution.
- Spiral readout with ultra-strong gradients can enable short TE and high resolution.
- Compare EPI U-fibre mapping protocol from Movahedian Attar, et al., Cereb. Cortex (2020).
U-fibres are found throughout the brain. Source: Movahedian Attar, et al., Cereb. Cortex (2020).
U-fibres are iron rich. Source: Kirilina, et al., Science Adv. (2020).
[Speaker Notes: Many brain regions of interest are small and iron rich, such as U-fibres and subcortical nuclei. Their small size necessitates sub-mm resolution diffusion weighted imaging, as recently demonstrated by Movahedian Attar, et al. There, they used an EPI protocol on a Connectom scanner for U-fibre mapping [left]. Spiral imaging enables shorter echo times, which could further help in imaging these iron-rich structures. We compare our spiral protocol with the EPI protocol in the following.]

---
DWI protocols
	spiral	EPI [2]
FOV	220 mm x 220 mm	206 mm x 206 mm
TE/TR	33 ms/6500 ms	66 ms/8900 ms
RO time	41 ms	81 ms
undersampling	4x radially	PF 5/8, GRAPPA 2
repetitions	4 interleaves	2 repetitions
field mapping	1.5 mm ME-GRE	blip up/blip down
reconstruction	Skope-i [3] with 2nd order trajectories	SENSE-1 on scanner
total TA	~1 hr	~3/4 hr
3T Siemens Connectom
32ch Rx head coil
800 µm spin echo DWI
62 slices along calcarine sulcus
b = 8, 18 ms/µm2
60 directions per shell
15 b0 images interleaved
spiral trajectory recorded in a phantom using Skope dynamic field camera probes built into a 64ch head coil [1].
[1] Mahmutovic, et al., ISMRM 2021 oral presentation #0623.
[2] Movahedian Attar, et al., Cereb. Cortex (2020).
[3] https://www.skope.swiss/skope-i/
[Speaker Notes: The spiral protocol was designed to follow the EPI protocol as closely as possible, with differences being a larger field of view (to prevent wrap around as there is no oversampled "read" direction), shorter TE, shorter readout time (but still ~4x undersampled in plane), the use of spiral interleaves, rather than straight repetition, and reconstruction using measured trajectories in the skope-i software rather than scanner reconstruction. This reconstruction incorporates a B0 map into the reconstruction itself rather than requiring blip-up/blip-down acquisition. The total acquisition time was a little longer for the spiral because of the 4 interleaves. The spiral trajectory was measured in a phantom using a 64ch head coil with built-in field probes; see the talk from Mirsad Mahmutovic for more information on the coil.]

---
DWI comparison
DWI comparison [1]
PE
1
0
1
0
[1] Computed using MRtrix3 (Tournier, et al., Neuroimage (2019)).
[Speaker Notes: Here we see a comparison of data from the two protocols measured in the same subject in separate sessions. The multi-tissue CSD segmentation into grey matter, white matter and CSF is much crisper for the spiral. The FA in the centre is also much crisper. This can be seen especially well in the zoomed in panels, where the EPI seems blurred along the phase encoding direction. The fibre orientation distribution functions for U-fibres in the subcortical white matter on the right appear significantly stronger for the spiral, which could reflect the effect of the shorter TE in these iron-rich fibres. The spiral protocol could thus enable even better U-fibre mapping.]

---
SNR comparison
SNR and effective resolution
EPI ~5 mins
spiral ~9mins
mean b0
1000
34000
0
0
tSNR
Estimated on a resolution phantom using the subtraction method of Miyati, et al., Phys. Med. Biol. (2002).
20
20
0
0
[Speaker Notes: Here we show that, in line with the previous slide, while the EPI has better SNR/time, the spiral has isotropically higher effective resolution. On the left are mean signal and tSNR measured over 20 b=0 volumes. This is a different subject to that in the abstract with a better positioned fiducial marker; this means that there is no large susceptibility artefact in the frontal lobe. The EPI protocol and the spiral protocol give similar tSNR, but the spiral protocol is significantly longer. By the way, the CSF appears brighter in the EPI because of the longer TR. The tSNR in iron rich regions -- such as the pallidum circled here -- is higher for the spiral because of the shorter TE. On the right are mean line spread functions (LSFs) and estimated magnitude transfer functions (MTFs) measured in a resolution phantom containing a thin sheet. The closer the MTFs are to a step function over all possible k values, the better. Despite the noisy estimate for low k -- a known problem when using magnitude images for the estimates --, it can be seen that the isotropic spiral resolution lies between the resolution of the EPI phase encoding and readout directions, in line with the lower apparent resolution for the EPI on the previous slide. Note that this method will underestimate T2 broadening effects arising from the different readout times, as the phantom T2 is up to twice as long as in vivo values.]

---
Conclusions and further work
Conclusions and further work
- Spiral DWI imaging using ultra-high gradients and gradient field monitoring shows potential for imaging fine, iron-rich brain regions.
- Contributions of TE, field monitoring, and reconstruction to image quality remain to be disentangled.
- Optimisation of the spiral design will help improve time-efficiency relative to EPI.
[Speaker Notes: To sum up: We see advantages of spiral imaging with field monitoring in fine iron rich regions because of the higher isotropic resolution and lower TE compared to the EPI protocol. However, the exact contributions of TE, field monitoring and reconstruction still need to be disentangled. We might be able to improve on the lower SNR per unit time of the spiral compared to the EPI protocol by further optimisation of the spiral design.]

---
Acknowledgements
Skope:
Christian Mirkes
Bertram Wilm
Resolution phantom:
Daniel Hänelt
Robert Trampel
Funding:
The research leading to these results has received funding from the European Research Council under the European Union's Seventh Framework Programme (FP7/2007‑2013) / ERC grant agreement no. 616905.
This project has received funding from the BMBF (01EW1711A & B) in the framework of ERA-NET NEURON.
[Speaker Notes: This project has received funding from the ERC and the BMBF, and we would like to thank Chris and Bertram at Skope for support with the use of the Skope system and Skope-i reconstruction, and Daniel and Robert for help with the resolution phantom. Thank you for your attention.]